Operations Advisory Committee Meeting

Community Manager’s Monthly Report – 10/2/12

Submitted by Steve Dean

I.	Community Manager Budget

-  60.5% Used (YTD) as of September 30th.

II.	Water Distribution System:

Completed:

-  All 3 well systems are operational and stable.

-  Repaired underground water leak at Scholl property on Daylily.

-  Relocated curb stop at Mark Smith property on Acacia.

-  Corrected problem with inoperative water meter in pump house #1.

-  Discovered we have a supplemental condition stated on our well permits which

means the maximum combined usage is what we are allowed to draw.  It is not

broken down into maximum per aquifer.

-  Backup generator at pump house #4 is operational.

To Be Completed:

-  Calvert Well & Pump Co. inspected well #2 and determined the pump is bad.

They also said that the well itself is bad and is the reason the pump needs to

be replaced.  They provided an estimate of $29,000.00 to drill a new well into

the Piney Point aquifer.  Getting 2nd opinion and estimate from A.C. Schultes.

Consulted with MDE about drilling new well in close proximity to old one.

A.C. Schultes (John Gilman) is also going to provide estimate for new well this

week.

-  All water valves need to be “exercised” and pipes flushed on a routine basis

(quarterly).

-  Perform routine maintenance on backup generator.

-  Perform cutover test of generator on pump #4.

III.	Buildings, Grounds, Roads and Pool

-  Storm water drainage still a problem at Darren Rickwood’s property.  Met with

storm water drainage contractor and Mr. Rickwood on 8/31.  Contractor

provided estimate of $1500 to install drain box and pipe that would divert much

of the rain water before it gets to Rickwood’s property.

-  Storm water flooding is causing washout at bottom of Elm, believed to be

caused when Kirby’s installed new driveway and parking area.

-  Stump grinding operation started on 9/5. All stumps have been removed from

association property.  Only a few stumps left to pick up from private properties.

There is an enormous amount of mulch as a result of stump grinding operation.

Ken Romney has suggested having a landscaping company come in and

remove it for free.

-  Large tulip poplar near 2125 Bluebell Rd. (Dennett) that appears to be on a

small piece of SCA property has been reported (via email) to be dangerous.

Received estimates to remove tree from 4 professional tree services that

ranged from $1,600 to $2,900.  However, all said tree was healthy.  Karl

Bowen provided written statement saying “to cut it down would be for reasons

other than the health of the tree”.

Completed:

-  Tree fell across power lines on Cherry Road on 9/11 causing some smoldering.

911 and SMECO were immediately notified.  CM arrived and secured scene.

Fire department arrived and determined that there was no fire danger and left

scene.  SMECO arrived, turned off power and removed tree from lines.

They then restored power and left.

-  Removed several Leyland Cypress trees from trash area in gate A.

-  Picked up and moved numerous small stumps and logs to green dump for

grinding.

-  Chipped limbs and branches at several locations.

-  Cut up and chipped part of a Sycamore tree that fell close to Bluebell Rd.

To Be Completed:

-  Need to identify dangerous trees on SCA property for “Dangerous Tree

Management Plan”.  Karl Bowen will assist and provide expert advice on tree

health at no cost.

-  Need to conduct tree trimming along roadsides.

Community House

Completed:

-  K.C. Company repaired Pella window on 9/21 and inspected remaining ones.

-  Secured loose hand rail on stairs leading to back porch on south side.

-  Reset alarm panel in kitchen.

To Be Completed:

-  Repair/replace main screen double doors on back porch.

-  Remove Christmas tree lights.

-  Tighten blades on remaining 1 ceiling fan.

-  Repair flag pole light.

Chestnut Cabin

Completed:

To Be Completed:

-  Door to museum sticking.

-  Install “Chestnut Cabin” sign.

-  Stain front deck and ramp.

-  Move trash box.

-  Clean or replace air filters in New Chestnut

-  Replace numerous light bulbs.

-  Replace light fixture over kitchen sink in new Chestnut.

Pool

Completed:

-  Repaired shingles (Jeff Wood).

To Be Completed:

-  Drain remaining pipes and place RV anti-freeze in traps.

-  Remove tree hanging over fence.

-  Replace missing tiles along top edge near deep end.

-  Repair broken pipe that is used to operate chair lift.

-  Repair pole light.

-  Repair fence.

Lake Ann

Should get estimates this week from A-1 Excavating, Skaggs Excavating and Calvin Woods.  Morgan Russell has not responded.

IV.	Beaches and Ravines

-  Cleared several logs from south beach and began mowing.

-  Cleared logs and branches from beach north of fire road to make easier access

for volunteers to get to north beach slide.

-  Repairing ravine walkways as needed.