Board of Directors Meeting

Community Manager’s Monthly Report for October 2012

Submitted by Steve Dean

I.	Community Manager Budget

-  79.54% Used (YTD) as of October 31.

II.	Water Distribution System:

Completed:

-  All 3 well systems are operational and stable.

-  Raised valve box at Scholl property on Daylily to allow for grading.

-  Removed frost-proof faucet from ball field and capped water line.

-  Identified and marked all valve boxes for main water line.

-  Installed backflow preventers on 4 hose bibs in pump house 1 & 4.

-  Performed power cutover test on backup generator to pump #4.

-  MDE performed an inspection of all 3 pump houses.

To Be Completed:

-  Met with John Gilman (A.C. Schultes) and John Hollowell regarding well #2.

A.C. Schultes has the technology to inspect the inside of the well using a high

resolution color video camera to determine exactly what the problem is and

whether or not the well can be rehabbed.  The estimate to do the inspection is

$2,595.00.  The cost of rehabbing a well is approximately 1/3 of the cost to drill

a new one.

-  Getting erroneous reading from pump #1 meter.  Suspect sand is making its

way through and jamming meter, then it gets flushed out and starts working

again.  Plan is to remove, inspect, repair/replace strainer.

III.	Buildings, Grounds, Roads and Pool

-  Storm water drainage still a problem at Darren Rickwood’s property.  Mr.

Rickwood is looking for something more aesthetically pleasing than a drain

box. It is recommended that this project be put off until next year and the

money be used elsewhere.

-  Flooding at Margaret Dunkle’s house is causing a washout at the entrance to

the walkway leading to the beach.

-  Significant storm water runoff causing dirt bank along top of ravine near

Ambrosia and Avocado to slide.  Also causing top of ravine to start sliding

along Ambrosia up to and including Griffin’s driveway.

-  Paul Dennett has agreed to pay to have the large tulip poplar on SCA property

removed. CM is assisting with obtaining permit.

Completed:

-  Removed 2 dead trees by road in front of pool.

-  Had 2 trees on Bluebell removed that were damaged from hurricane Sandy.

Also had another tree in the same vicinity removed due to significant rotting at

the base.

-  Removed two dangerous trees just prior to Hurricane Sandy’s arrival that were

on SCA property and posing a risk to Phil Fleming’s property.-  Chipped limbs

and branches at several locations.

-  Started roadside tree trimming.

To Be Completed:

-  Need to identify dangerous trees on SCA property for “Dangerous Tree

Management Plan”.

-  Continue roadside  tree trimming.

Community House

Completed:

-  Installed light sensor for flag pole.

-  Checked out Christmas tree lights and determined they are working.

To Be Completed:

-  Repair/replace main screen double doors on back porch.

-  Tighten blades on remaining 1 ceiling fan.

-  Sand and stain front doors.

-  Sand and re-paint front steps and hand rails.

Chestnut Cabin

Completed:

-  Re-lamped New Chestnut.

-  Installed “Chestnut Cabin” sign.

To Be Completed:

-  Door to museum sticking.

-  Stain front deck and ramp.

-  Move trash box.

-  Clean or replace air filters in New Chestnut.

-  Replace light fixture over kitchen sink in new Chestnut.

Pool

Completed:

-  Completed winterization.

To Be Completed:

-  Remove tree hanging over fence.

-  Replace missing tiles along top edge near deep end.

-  Repair broken pipe that is used to operate chair lift.

-  Repair pole light.

-  Repair fence.

Lake Ann

Received two estimates.  One from Calvin Woods ($27k) and one from Scaggs ($21k).

IV.	Beaches and Ravines

-  Repairing ravine walkways as needed.