Operations Advisory Committee

Community Manager’s Monthly Report for November 2012

Submitted by Steve Dean

I.	Community Manager Budget

-  81.89% Used (YTD) as of November 30.  92% of time elapsed.

II.	Water Distribution System:

Pump #2 was pulled on 11/15 and a video inspection performed on 11/16.  The results of the inspection revealed that there is a hard, unidentifiable obstruction at a depth of 350’.  This obstruction, located just above the screen prevents the rehab of the well and the reason it should be abandoned.  Two estimates received to drill a new well into the same aquifer and within 50’ of the existing pump house.  Calvert Well proposal:  $29,000.00.  A.C. Schultes proposal: $59,995.00.  The difference in price is screen size and type of material used.

All other wells operating normally.

Completed:

-  Replaced valve box at 2079 Cherry Rd., 2627 & 2562 Aspen Rd.

-  Responded to an emergency water shut off request at 2627 Aspen Road

(Saville).  Water was leaking from the main line where it came through the wall

in the basement of the house.  Located valve box under 6” of asphalt, and shut

water off.

-  Responded to an emergency water shut off request at 2562 Aspen Road (Kirk).

Water was leaking from the main line where it came through the wall in the

basement of the house.  While shutting off curb stop, noticed water in the

bottom of the valve box.  Dug up valve and found a leaking galvanized steel

adapter.  Replaced valve and adapter.

-  Replaced valve box at 2079 Cherry Rd., 2627 & 2562 Aspen Rd.

-  Shut off water at the street to several homes for the winter.

-  Rebuilt chlorine pump in PH #3.

To Be Completed:

-  Get new estimate from Calvert Well using identical materials as quoted by A.C.

Schultes.  Get two more estimates from other companies.

-  Getting erroneous reading from pump #1 meter.  Suspect sand is making its

way through and jamming meter, then it gets flushed out and starts working

again.  Plan is to remove, inspect, repair/replace strainer.

III.	Buildings, Grounds, Roads and Pool

-  Recommend installing a diversion berm on Evergreen Road just prior to

Margaret Dunkle’s property to prevent flooding in her garage and erosion

on walkway leading to beach.

-  Recommend installing drain system on Ambrosia just prior to Griffin

property.  Estimate from contractor is $2,800 -  $3,000.  Significant storm water

runoff causing dirt bank along top of ravine near Ambrosia and Avocado to

slide.  Also causing top of ravine to slide along Ambrosia Road, up to and

including Griffin’s driveway.

-  SMECO leveled pad and reset transformer across from office.

-  Met with Kirby’s, and with storm water contractor to discuss the run off problem

on Elm Road.

-  Met with Robin Munnikhuysen to discuss tree removal plans and procedures.

Completed:

-  Removed 3 cherry trees in Gate B (for a total of 4).  Two remaining cherry

trees will be pruned.  Removed several trees in boat yard.  Removed leaning

tree in pool area.  Removed dead tree on Bluebell Road across from Ferris

property.

-  Chipped tree debris that was left over from 2 tree removals on SCA property

adjacent to the Flemming’s.

-  Chipped limbs and branches at several locations.

-  Cleared debris from storm drains.

-  Installed “Do Not Enter” and “One Way” signs at top of Bluebell Road.  Installed

“Speed Limit 13” and  “Caution Children Playing” signs at Cedar and Cypress

Roads.

To Be Completed:

-  Need to identify dangerous trees on SCA property for “Dangerous Tree

Management Plan”.

-  Continue roadside tree trimming.

-  Need to follow-up with the road contractor regarding the tar issue.

Community House

Completed:

-  Responded to call from alarm company on 11/14 at 0300 hrs for problem in

h/w room.  Ended up being a dead battery in smoke detector.

To Be Completed:

-  Repair/replace main screen double doors on back porch.  Getting estimates.

-  Building winterization.

-  Repair/replace cleanout access door at base of chimney.

Chestnut Cabin

Completed:

-  Replaced light fixture over kitchen sink.

-  Inspected electrical wiring in “Old Cabin”.  All wiring and circuit breaker panel

have been updated to modern standards.

-  Moved trash bin.

-  Jeff Wood replaced all gutter guards with new design and material.

To Be Completed:

-  Door to museum sticking.

-  Clean or replace air filters in New Chestnut.

Pool

Completed:

-  Completed winterization.

-  Removed leaning tree in pool area.

-  Submitted application to DNR for new wastewater discharge permit.

To Be Completed:

-  Remove tree hanging over fence.

-  Replace missing tiles along top edge near deep end.

-  Repair broken pipe on chair lift.

-  Repair pole light.

-  Repair fence.

Lake Ann Project

Received three estimates.  Calvin Woods ($27k); Scaggs ($21k); Morgan Russell ($11,150. - $13,580.).

IV.	Beaches and Ravines

-  Cleared brush from South Beach.

-  Repairing ravine walkways as needed.