Operations Advisory Committee Meeting – June 4, 2013

Community Manager’s Report for Month of May 2013

Respectfully Submitted by Steve Dean

I.      Community Manager Budget

37.09% used for 2013 as of May 31st.

II.	Water Distribution System:

- A.C. Schultes applied for permit to drill Well #5.  May take 4-6 weeks to receive.

- Replaced motor starter on pump #1.

- Repaired several water leaks.

- Capped off the line to 2210 Birch Rd.

- Prepared water lines for demolition of 2323 Acacia Rd.

- Well 1 & 4 operating normally.

III.	Buildings, Grounds, Roads and Pool

- Maintained green dump area.

- Removed large tree next to Dennett.

- Cleared area in boat yard.

- Inspected several trees for removal/trimming.

- Scheduled pest spraying for the Community House & Administrative Office.

- Backfilled washout in front of Kauffman cabin.

Pool

- Uncovered & drained the pool.

- Cleaned & refilled.

- Repaired handicap chair lift.

- General maintenance of pool deck area.

- Cleaned out the bath house.

- Repaired plumbing issues in bath house.

- Repaired fence around pool.

- Rebuilt flower boxes in front of pool house.

- Repaired light poles.

Community House

- Replaced double screen door on rear porch.

- Repaired wagon wheel light fixtures.

- Front double doors refinished.

Chestnut Cabin

- Replaced bulbs in museum.

IV.	Beaches and Ravines

- Beach clean-up.

- Piled wood for Memorial Day bonfire.

- Toe Revetment work.

- General gabion basket maintenance.

- Replaced steps in Ravines 1 & 2.

- Removed tree and repaired handrails in ravine #9.

V.	Roads

- Fixed wash out in front of 2206 Birch Rd.

- Opened up/uncovered storm water drain on Bay Rd.

- Re-graveled drainage ditch at Flynn’s in Gate D.