Operations Advisory Committee Meeting

Community Manager’s Report for Month of June 2013

Respectfully Submitted by Steve Dean

I.      Community Manager Budget

45.10% used for 2013 as of June 30.  Submitted 2014 budget request.

II.	Water Distribution System:

Maryland DHMH (Department of Health and Mental Hygiene) and MDE (Maryland Department of the Environment) conducted a site visit and approved overall plan.  SCA must submit a building permit application for pump house.  This will be done using Fast Track which only takes 1-2 days. Adjusted layout of pump house, generator pad, contact tank, propane tank and fence to accommodate for equipment used when performing maintenance on water tower.

Developing plan and budget (2014) to systematically replace nylon and steel adapters with brass adapters between curb stop and supply lines.  Also developing a plan and budget (2014) to replace the last two remaining 2” galvanized water mains on Atropa Rd. and Arrowhead Rd.

- Had SMECO cut power to pump house #2 (which also supplied power to guard booth), eliminating a monthly service charge of $27.28.  Guard booth will now be powered by generator when needed.

- Repaired leaking 2” main on Acacia Rd.

- Repaired leaking adapter at 2206 Birch Rd.

- Periodically back flushing contact tank at pump house #3.

- Wells 1 & 4 operating normally.

III.	Buildings, Grounds, Roads and Pool

- Maintained green dump area.

- Had exterminator service the Community House & Administrative Office.

- Cleared 2 drains under Acacia Rd. between Almond Rd. and Petty’s.

- Filled in washout on Allspice Rd.

- Filled in eroding drainage ditch behind guard shack.

- Trimmed around bridge and cut bamboo at Chestnut.

- Trimmed bamboo from Coffin’s Corner and on Aspen Rd. between Gate A house and RV parking area.

- Disposed of abandoned boats and trailers.

- Trimmed around and applied Roundup at Tennis court.

Pool

- Opened Pool

- Repaired hot water leak in men’s bath house.

- Replaced shower head in men’s bath house.

- General maintenance of pool deck area.

- Corrected all but 2 items identified by Health Department inspector.  (1)Caulking expansion joints and (2)replacing weir plates in 2 skimmers.  Caulking will be done during next dry spell.  Attempting to locate weir plates.

Community House

- Scheduling locksmith to rekey all external doors.

Chestnut Cabin

- Replaced exterior doors (contractor).

- Scheduling locksmith to rekey all external doors.  Currently, separate keys are needed for handles, deadbolts and museum doors.  Will have all locks keyed alike.

IV.	Beaches and Ravines

- Trimmed all ravines.

- Replaced boards in ravine #7.

- Repaired walkway and handrails in ravine #9.

- Have contacted the St. Leonard Fire Dept. numerous times regarding the large pile of driftwood at South Beach.