Operations Advisory Committee Meeting

Community Manager’s Report for Month of July 2013

Respectfully Submitted by Steve Dean

I.      Community Manager Budget

Data not available.

II.	Water Distribution System:

Met with engineer from A.C. Schultes on Wednesday 7/24 to confirm well location and site plan.   Drilling crew and rig arrived Monday 7/29, and began drilling operation on Tuesday.

- Flushed all 4 fire hydrants.

- Cleaned out chlorine tanks in 1 & 4.

- Back flushed contact tank at Well 3.

- Wells 1 & 4 operating normally.  There was a total of 1,510,400 gallons used in July, as opposed to 1,647,422 gallons used in July of last year (2012).  Well 1 produced 882,900 gals (58%), Well 4 produced 627,500 gals (42%).  Each pump ran an average of 9.38 hours per day.

III.	Buildings, Grounds, Roads and Pool

- Maintained green dump area.

- Cut down Oak tree and chipped branches (at request of P&G) near Gravatt Memorial Garden. Tree was growing up into the power lines.

- Spread sand and gravel on roads as required due to tar issue (7/19.

- Cleared bamboo/reeds along Birch Rd.

- Cleared brush along Alder Rd. opposite Gravatt Memorial Garden.

- Cleared under growth and mulched along Azalea Rd. (Allanson Garden).

- Trimmed around and applied Roundup at lower tennis court.

- Replaced valve box near water tower that was damaged when clearing trees.

- Marked water lines along Alder, Althea, and Angelica Roads for SMECO.

- Cleared large hanging branches near Gate C gardens.

- Filled in washout around storm water drain near entrance to Gate C.

- Installed window A/C unit in shop.

- Chipped large brush pile at green dump.

- Performed maintenance on John Deere tractor and Zero Turn.

Pool

- Replaced several tiles

- Replace 3 weir plates on skimmers.

- Performed daily inspection of pumps, filters and chlorinators.

- Installed motion activated security lights.

- Installed hose reel.

- Replaced shower head in women’s bath house.

Community House

- Nothing to report.

Chestnut Cabin

- Nothing to report.

IV.	Beaches and Ravines

- Burned large debris pile at South Beach.

- Repaired washout at bottom of Ravine #7.

- Replaced boards in ravine #7 & #3.