Operations Advisory Committee Meeting

Community Manager’s Report for Month of September 2013

Respectfully Submitted by Steve Dean

I.      Community Manager Budget

67.85% funding used with 75% time elapsed.

II.	Water Distribution System:

- Waiting for pump house and underground detention tank to arrive.  Generator will be delivered on Friday (10/4).

- Waiting on estimate for control panel.

- Water tower is scheduled for pressure washing during week of the 10/14.

- Water meter in Pump house #1 is leaking and may need to be replaced soon.

- Wells 1 & 4 operating normally.

- USGS was out on 9/20 to measure wells.

- MDE scheduled onsite visit for Thursday 10/3 to perform annual inspection of wells, record-keeping and emergency preparedness plan.

- Received bacteriological lab test results on 9/27, indicating SCA water is safe for human consumption.

III.	Buildings, Grounds, Roads and Pool

- Cut vines on Gate A house.  Cut bamboo behind shop.  Cleared brush along road to Well #3.  Repaired fallen light fixtures in museum.  Removed dead tree at south beach.  Removed 2 dead trees in the Gravatt Memorial Garden.  Made repairs on steps and walkways in ravines 1 – 6 that were identified by ravines committee.  Cleared walkway between Abelia and Aster roads.  Cleared bamboo on Birch Rd, around Chestnut Cabin and Pump House #1.

- Working with county to get blanket grading exemption to complete storm water management projects and perform routine maintenance along roadways.

Pool

- Closed pool .

Community House

- Reserved CH on November 2nd for First Aid/CPR/AED training.  Currently have 11 people signed up.

Chestnut Cabin

- Cleared vines and weeds on hill between CC and Bluebell Rd.

IV.	Beaches and Ravines

- Walked southern beach with Norm and made list of groin work that needs to be done.  Still need to groins along northern beach.

- Toe Revetment work is scheduled for this Wednesday and Friday.  Duration of work each day will be 3-4 hours.

- Several boats on South Beach appear to be abandoned and can’t be identified.  Norm was going to talk to Donna regarding disposition of boats.

- Replaced boards in several ravines.

- Trimmed walkways.